## Slide 1
Energy conservation through controls
Energy conservation through controls in electrical engineering involves the use of various techniques and technologies
to optimize the generation, distribution, and consumption of electrical energy. The goal is to reduce energy waste, improve efficiency, and lower overall energy consumption.
Energy Conservation Through Control provides information pertinent to energy-conserving control systems, which is relevant to efficient plant operations.
It also includes the processes involving energy conversion and examines the laws of thermodynamics.

## Slide 2
Energy conservation through controls
• Energy Conservation Through Control explores the various aspects of the following:-
Combustion Control Systems- Controlling Fuel Flow, Controlling Airflow, Air Pollution Control.
Steam Plant Management - Steam Turbine Controls , Steam Header Controls , Boiler Controls , Multiple-Boiler Plants.
Compressor Control Systems –The Thermodynamics of Compression, Compressor Characteristics, Pressure and Flow Controls, Surge Protection, Multiple-Compressor Installation.
Refrigeration - Mechanical Refrigeration, Deep Cooling, Steam Refrigeration, Brine and Chilled-Water Systems, importance of refrigeration systems in industrial processing and to air-condition buildings.
The final step deals with the general features and control problems in energy conservation in heating, ventilating, and air conditioning (HVAC) system. Plant designers, control engineers, power plant operators, and industrial managers will find it extremely useful.

## Slide 3
Various Techniques/Methods/Technologies used in EC through Control
Variable Frequency Drives (VFDs)
VFDs are used to control the speed of electric motors. By adjusting the motor's speed to match the load requirements, energy consumption can be significantly reduced.
This is especially effective in applications like HVAC systems, pumps, and fans.
Programmable Logic Controllers (PLCs)
PLCs are used for automation and control of industrial processes. They can be programmed to optimize equipment operation, monitor energy usage, and implement energy-saving strategies, such as load shedding during peak demand.
Lighting Control Systems
Lighting represents a significant portion of energy consumption in buildings. Lighting control systems use sensors, timers, and dimming controls to adjust lighting levels based on occupancy and natural light, reducing unnecessary energy usage.

## Slide 4
Various Techniques/Methods/Technologies used in EC through Control
Smart Grid Technology
Smart grids enable better control and monitoring of the electricity distribution system.
They allow for real-time adjustments to supply and demand, which can improve overall system efficiency and reduce energy losses during transmission.
Energy-Efficient Motors and Transformers
Upgrading to energy-efficient motors and transformers with higher efficiency ratings can lead to significant energy savings, especially in industrial settings.
Advanced Control Algorithms:
Implementing advanced control algorithms and predictive maintenance strategies can optimize the performance of electrical equipment and reduce energy consumption over time.

## Slide 5
Some Controls through Energy Management Systems
Energy-Efficient Design
During the design phase of electrical systems, engineers can incorporate energy-efficient components, such as high-efficiency transformers and insulation materials, to minimize energy losses.
Thermal Energy Storage (TES)
TES systems store excess electrical energy in the form of thermal energy, typically using materials like ice or hot water. This stored energy can be used to supplement heating and cooling systems during peak demand periods.

## Slide 6
HVAC (Heating, Ventilation, and Air Conditioning) Controls:
Thermostats: Smart thermostats can be programmed to maintain comfortable temperatures only when necessary, reducing heating and cooling energy consumption.
Zoning: Zoning systems divide a building into different areas with independent temperature controls, allowing for precise heating and cooling where needed.

## Slide 7
Industrial Process Controls:
  PID Controllers: Proportional-Integral-Derivative controllers regulate various industrial processes, optimizing parameters such as temperature, pressure, and flow to reduce energy consumption and maintain product quality.
  Load Shedding: In industrial settings, load shedding systems prioritize critical processes and temporarily reduce power to non-essential equipment during peak demand times.
Building Automation Systems (BAS):
  BAS integrates various building systems, such as lighting, HVAC, and security, to optimize energy use and overall building performance.

## Slide 8
Energy Audits and Monitoring
Regular energy audits and monitoring of electrical systems help identify areas of inefficiency and opportunities for improvement. Data analysis can reveal patterns and trends in energy consumption, enabling better decision-making.
Therefore, Energy conservation through controls in electrical engineering involves a combination of technology, automation, and monitoring to reduce energy waste and improve efficiency in electrical systems.
These strategies are essential for achieving sustainability goals, reducing operational costs, and minimizing the environmental impact of electrical energy

## Slide 9
Advantages
Businesses and factories that employ energy management solutions usually end up achieving far greater savings than those running their operations without such systems. EMS analyzes all the operations of the company and optimizes them for energy savings.
1. Improved brand image- Utilizing energy management systems will result in reduced power consumption and therefore more environmentally friendly processes. Business clients, customers and suppliers do recognize the optimization in processes as it reflects quality in planning and management.
2. Better productivity and competitive edge- Reducing the energy consumption through process optimization and efficient load planning not only improves the productivity of industrial processes in general but also allows companies to catch-up to their competition through continuous improvement of processes

## Slide 10
3. Cost-reduction- Energy management systems can guarantee a reduction in energy costs by at least 20%. Even with minimal investments and no front-up costs, system supervisors can save around 10% of their overall energy costs.
4. Enhance the morale and wellbeing of employees- When companies make the effort to improve their processes and pay attention to each and every parameter that can be optimized, it has an incredibly positive effect on the work culture of the company.

## Slide 11
Some other Controls through Energy Management Systems
Computer aided energy management
An energy management system (EMS) is a system of computer aided tools used by operators of electric utility grids to monitor, control, and optimize the performance of the generation or transmission system.
Also, it can be used in small scale systems like microgrids. It consists of multiple digital systems such as SCADA and ADMS to manage the energy generation and transmission of power.
ADMS : short for Advanced Distribution Management Systems is a vital component in optimization and efficient operation of grids.
It is basically a software platform that provides visibility and control of all activity of the grid along with data analysis capabilities
Energy management system (EMS) : a system of computer aided tools used by operators of electric utility grids to monitor, control, and optimize the performance of the generation or transmission system.
Also, it can be used in small scale systems like microgrids. It consists of multiple digital systems such as SCADA and ADMS to manage the energy generation and transmission of power.