## Slide 1
Preventive and Predictive :
Predictive and preventive maintenance are two critical approaches in electrical conservation that help ensure the reliable and efficient operation of electrical systems while minimizing energy waste. Here's how each of these maintenance strategies contributes to electrical conservation:
Preventive maintenance and predictive maintenance are designed:
to increase the reliability of assets and reduce the amount of reactivity to failures
With maintenance is actually performed, making them both a form of scheduled maintenance.

## Slide 2
What is Preventive Maintenance :
Preventive maintenance can be compared to an annual physical check-up. Technicians perform these maintenance tasks when everything is still running smoothly in order to prevent future breakdowns or emergency maintenance issues.
Just like a physical check-up can prevent illness or disease and lengthen your life, preventive maintenance can prevent equipment failures and extend the functional life of your assets.
In addition, if you can keep your production lines up and running, you’ll be more profitable as well.
The main challenge with preventive maintenance is balancing the cost with returns. Experienced maintenance managers must make smart decisions on which machines require what preventive maintenance work and how frequently.

## Slide 3
1.) Predictive Maintenance:
Predictive maintenance involves monitoring and analyzing the condition of electrical equipment and systems to predict when maintenance is needed. It relies on various technologies and data analysis techniques to detect early signs of potential issues, allowing for timely intervention before equipment failures or energy inefficiencies occur:
Condition Monitoring:
Sensors and monitoring devices are installed on electrical equipment to continuously measure parameters like voltage, current, temperature, and vibration. These sensors provide real-time data that can be analyzed to identify anomalies or deviations from normal operating conditions.

## Slide 4
b. Data Analytics:
Advanced analytics tools, including machine learning and data modeling, are used to process the data collected from condition monitoring. Patterns and trends are identified to predict when equipment is likely to fail or experience reduced efficiency.
c. Fault Detection and Diagnosis:
Predictive maintenance systems can pinpoint the exact location and nature of potential faults or issues within electrical systems. This precision allows for targeted and efficient repairs or maintenance.
d. Scheduled Maintenance:
Based on predictive analytics, maintenance teams can schedule maintenance activities during periods of low demand or when equipment is not critical to operations. This minimizes disruptions and conserves energy.

## Slide 5
What is Predictive Maintenance :
Although predictive maintenance is similar to preventive maintenance, this activity requires particular preset conditions. In our analogy to human health, this component can be compared with screenings or precautions recommended for an individual who is at higher risk for a particular disease due to hereditary or lifestyle considerations.
If technicians discover that a particular piece of equipment suddenly performs outside normal parameters, they trigger a predictive maintenance protocol to conveniently schedule a repair or prevent future breakdowns.
I’d highly recommend investing in a computerized maintenance management system, which will give you the measurements and data required to make smart decisions. This investment can reduce unneeded maintenance tasks, minimize maintenance costs, develop a strong overall maintenance program, and monitor the equipment and systems to keep your facility up and running.
Just as eating right, physical activity, and wellness exams all play a role in physical health, both preventive and predictive maintenance have an important place in a strategic facility maintenance program.

## Slide 6
2.) Preventive Maintenance:
Preventive maintenance involves regularly scheduled inspections and maintenance tasks to address known issues and prevent equipment breakdowns. While it may not be as data-driven as predictive maintenance, it plays a crucial role in electrical conservation:
Routine Inspections:
Electrical systems and equipment are inspected on a predefined schedule to identify signs of wear, corrosion, loose connections, or other issues that can lead to energy waste or failures.
b. Cleaning and Lubrication:
Keeping electrical components clean and properly lubricated
can improve their efficiency and reduce resistance, leading to energy savings.

## Slide 7
c. Tightening and Torque Checks:
Ensuring that electrical connections, such as bolts and screws, are properly tightened and torqued helps prevent electrical losses and overheating.
d. Replacement of Worn Components:
Over time, electrical components like capacitors, switches, and wires can degrade. Preventive maintenance involves replacing these components before they fail to prevent energy waste and downtime.
e. Documentation:
Detailed records of maintenance activities are kept, which can be used to track the performance of electrical systems over time and identify trends that may require adjustments.
Both predictive and preventive maintenance strategies are essential for electrical conservation. Predictive maintenance helps target maintenance efforts more precisely and reduces the risk of unexpected energy-wasting failures, while preventive maintenance ensures that routine tasks are carried out to maintain the efficiency and reliability of electrical systems. Together, these approaches help organizations save energy, reduce operational costs, and extend the lifespan of electrical equipment.

## Slide 8
Difference between Preventive and Predictive Maintenance :
Preventive maintenance and predictive maintenance are designed:
The difference between preventive and predictive maintenance is preventive maintenance is regularly scheduled while predictive maintenance is scheduled based on asset conditions.
Predictive maintenance reduces labor and material costs whereas preventive maintenance costs less to implement.
The main difference between the two is that preventive maintenance is scheduled at regular intervals while predictive maintenance is scheduled as needed (based on asset conditions).
Because predictive maintenance is performed only when needed, it reduces labor and material costs. However, implementing a predictive maintenance program requires a substantial amount of money, training, and resources up front. These costs are often acceptable to organizations that successfully implement a preventive maintenance program.