## Slide 1
Energy Conservation Planning
is the process of developing strategies and implementing measures to reduce energy consumption in various sectors, including residential, commercial, industrial, and transportation.
Advanced Control Corporation can help you implement an Energy Conservation Plan designed:- to reduce energy waste at your commercial building.
Installing an energy management control system is the first step to making your building more efficient.
Energy management control systems rely on a building automation system to integrate all the control systems in a facility.

## Slide 2
Once all these systems are integrated, the energy management solution can manage HVAC and lighting systems in an efficient manner that reduces energy waste. If you already have an energy management control system in place, Advanced Control can retrofit your system with more up to date components using open protocol software that allows easy compatibility.
The goal of energy conservation planning
is to use energy resources more efficiently,
reduce greenhouse gas emissions,
lower energy costs,
and promote sustainability
Here are the key steps and considerations in energy conservation planning:

## Slide 3: Three important key steps in considerations in energy conservation planning:
1. Employ energy scheduling
Scheduling features can be set so that HVAC and lighting is turned off whenever the facility is typically unused, such as weekends, evenings, and holidays.
Scheduling can also be set automatically according to your GPS position, so that lights in outdoor access areas, parking lots, signage, and other areas on the exterior of your building follow sunrise and sunset times.
Lights only come on when needed as the time of year and sunrise/set changes.
2. Start daylight harvesting
In areas of the building near exterior walls and windows, photocells can be used that detect natural light levels and automatically dim or shut off lighting as needed to maintain specified minimum levels.
Motorized shades can be set to take advantage of natural light without compromising temperature control to maximize energy efficiency.

## Slide 4: Three important key steps in considerations in energy conservation planning:
3. Use occupancy controls
Using information from RFID card scanners, motion sensors, elevator access controls, and other occupancy sensors, an energy management solution can turn lighting and HVAC off as soon as an area becomes unoccupied.

## Slide 5: Other considerations in energy conservation planning:
Energy Audit and Assessment:
  Conduct an energy audit to understand current energy usage patterns and identify areas of inefficiency
  Evaluate the energy performance of buildings, processes, and equipment

## Slide 6
Set Goals and Targets:
  Establish clear energy conservation goals and targets based on the findings of the energy audit
  Define specific, measurable, and time-bound objectives for reducing energy consumption
Develop an Energy Conservation Plan:
  Create a comprehensive energy conservation plan outlining the strategies and measures to achieve the set goals
  Prioritize energy-saving initiatives based on their potential for impact and cost-effectiveness

## Slide 7
Employee Engagement:
  Involve employees at all levels in the planning and implementation process.
  Promote energy awareness and behaviour change to encourage energy-saving practices
Energy-Efficient Technologies:
  Identify and implement energy-efficient technologies and equipment
  Consider upgrades or replacements that offer a quick return on investment
Renewable Energy Integration:
  Explore opportunities for using renewable energy sources like solar, wind, or geothermal to reduce reliance on fossil fuels

## Slide 8
Energy Management Systems (EMS):
  Implement EMS to monitor, control, and optimize energy usage in buildings and facilities
  Use real-time data to make informed decisions and adjust energy consumption
Energy Efficiency Standards and Codes:
  Comply with energy efficiency standards and building codes relevant to your industry or region
  Stay informed about updates and changes to regulations

## Slide 9
Training and Education:
  Provide training and education to employees to ensure they understand and follow energy-saving practices
  Raise awareness about the benefits of energy conservation
Monitoring and Measurement:
  Continuously monitor energy usage and track progress towards achieving energy conservation goals
  Use Key Performance Indicators (KPIs) to assess the effectiveness of energy-saving initiatives

## Slide 10
Regular Maintenance
  Implement a proactive maintenance program to ensure that equipment and systems remain in optimal working condition
  Address any issues or inefficiencies promptly
Reporting and Communication
  Report on energy conservation achievements and share results with stakeholders, both internally and externally
  Communicate the benefits of energy conservation to customers, investors, and the community

## Slide 11
Continuous Improvement:
  Regularly review and update the energy conservation plan to adapt to changing circumstances and emerging technologies
  Seek opportunities for further energy savings
Energy conservation planning is essential for organizations and governments to reduce their carbon footprint, save money, and contribute to a more sustainable future.
It requires a systematic and ongoing effort to identify, implement, and monitor energy-saving measures.

## Slide 12
Energy Efficiency Analysis of System
Analysing the energy efficiency of a system is crucial for various reasons, including cost savings, environmental sustainability, and overall system performance.
Energy efficiency analysis is a critical aspect of electrical engineering, particularly when designing and operating systems that consume electrical energy.
The goal is to maximize the output or performance of a system while minimizing energy consumption and waste.

## Slide 13
Energy Efficiency Analysis of System
To conduct an energy efficiency analysis of a system, these general steps are followed:
1.Define the System:
  Begin by clearly defining the electrical system, the boundaries you want to analyze. This could be a power distribution system, a motor drive system, a lighting system, or any other electrical system.
  Identify all components and processes that consume or produce energy within the system
2.Measure Energy Consumption
  Gather data on energy inputs and outputs.
  To assess energy efficiency, you must measure the energy consumption of the system. This can be done using various instruments like energy meters, current clamps, and voltage meters. Measure both active (real) power and reactive power if applicable.
  This may include electricity consumption, fuel consumption, heat generation and any other relevant energy sources or sinks

## Slide 14
3.Efficiency Metrics: Calculate key efficiency metrics, which may include:
Energy Efficiency: This is typically expressed as a ratio of useful output energy to input energy, often as a percentage. For example, if a motor consumes 1000 watts of electrical power and produces 800 watts of mechanical power, the energy efficiency is 80% (800W / 1000W * 100%).
Power Factor: This measures how effectively the system converts electrical power into useful work and is especially important in AC systems.
A high power factor (close to 1) indicates efficient power utilization.
Specific Energy Consumption (SEC): This metric is often used in industrial settings and calculates the energy required to produce a specific amount of output (e.g., kWh per unit of product).
Compare the energy consumption of the system to industry benchmarks or similar systems to identify areas for improvement

## Slide 15
  4.Identify Losses:
  Identify and quantify energy losses within the system. These losses can occur due to resistance in wires, transformers, motors, and other components.
  Common losses include copper losses (I²R losses), core losses, and mechanical losses.
  5.Load Profile Analysis:
  Analyze the system's load profile, which involves studying how energy consumption varies over time. Understanding peak loads and off-peak periods can help optimize system operation.
6.Cost-Benefit Analysis
Evaluate the cost-effectiveness of implementing each ECM
Calculate the upfront costs, expected energy savings, and the payback period for each option

## Slide 16
7.Efficiency Improvement Strategies:
Identify Energy Conservation Measures (ECMs) based on potential ECMs.
Implement measures to reduce energy losses, such as using higher efficiency components, improving insulation, or upgrading to more efficient technologies.
These could include equipment upgrades, process optimization, behavioural changes, or technology implementations.
Implement control strategies like variable frequency drives (VFDs) to match motor speed with the required load, reducing energy wastage during part-load operation.
Consider energy storage solutions, such as batteries or capacitors, to capture and reuse excess energy in the system.
Implementing better insulation and sealing.
Optimizing heating, cooling, and lighting systems.
Installing renewable energy sources like solar panels.
Lifecycle Analysis:
Consider the entire lifecycle of the system, including manufacturing, operation, and disposal. This can reveal opportunities for energy savings, such as selecting materials with a lower carbon footprint or designing for easier recycling

## Slide 17
8.Regulations and Standards:
Ensure compliance with energy efficiency regulations and standards relevant to your region and industry. These may prescribe efficiency requirements and testing procedures.
9.Simulation and Modeling:
Use computer simulations and modeling tools to predict system performance under different conditions and to evaluate the impact of efficiency improvements before implementation.
10.Monitoring and Maintenance:
Implement a system for continuous monitoring and maintenance to ensure that energy efficiency is maintained over time. Regular inspections and maintenance can prevent degradation in performance.
Continuously monitor energy consumption and compare it to baseline data to ensure that the implemented ECMs are achieving the expected savings

## Slide 18
11.Documentation and Reporting:
Keep detailed records of energy efficiency measurements, improvements, and maintenance activities. Reporting on energy savings achieved can be valuable for compliance, cost analysis, and sustainability reporting.